CYPRUS ORGANIZATION FOR THE PROMOTION OF QUALITY
CYPRUS ACCREDITATION BODY

ACCREDITATION CERTIFICATE no. L073-2

The Board of Governors

of the  Cyprus Organization for the Promotion of Quality

acting  as the authorized Cyprus Accreditation Body

according  to the Article 7 of the Law 156(Ι)/2002

grants accreditation to

Laboratory c.p. FoodLab Ltd

in Nicosia

which has been assessed according to the Accreditation Criteria for Testing Laboratories as defined in the standard

CYS EN ISO/IEC 17025:2017

as competent to perform the Methods defined in the Scope of Accreditation referred to in the Annex of this certificate; the said Annex represents inextricable part of the certificate. The Accreditation Scope can only be modified after a decision of the Cyprus Accreditation Body.

The Cyprus Accreditation Body is a Member of the Multilateral Agreement of European Cooperation for Accreditation (EA-MLA) in the mentioned field.

The current Accreditation Certificate, no. L073-2, is issued on the              27th December 2023 and is valid from the 4th June 2019 until the 3rd June 2024.

Accreditation was granted for the first time on the 4th June 2015.

Antonis Ioannou

Director

Date: 27 December 2023

This laboratory is accredited in accordance with the recognised International Standard ISO/IEC 17025:2017. This accreditation demonstrates technical competence for a defined scope and the operation of a laboratory quality management System (joint  ΙSO -ILAC-IAF Communiqué 04/2017).

|  | Annex of the Accreditation Certificate number L073-2 |
| --- | --- |

Scope of Accreditation

of

Laboratory c.p. FoodLab Ltd

Valid as from the 4th June 2019 until the 3rd June 2024

* Valid as from the 11th June 2020 until the 3rd June 2024

** Valid as from the 20 th January 2021 until the 3rd June 2024

*** Valid as from the 20 th January 2022 until the 3rd June 2024

****Valid as from the 28 th March 2023 until the 3rd June 2024

*****Valid as from the 27 December 2023 until the 3rd June 2024

+Valid as from the 28 th March 2023

1The edition of CYS EN ISO/IEC 17025:2017 is valid from the 11th June 2020

| Materials / Products | Type of testing / Countable properties | Methods / Techniques |
| --- | --- | --- |
| Chemical Testing |
| Edible vegetable oils | 1. Titrimetric determination of acidity | +COI/T.20/Doc.No34 +REG(ΕΕ) 2022/2104 +REG (ΕΕ) 2022/2105 Mthd-Fd-Oil |
|  | 2. Determination of the Κ232, Κ270 και ΔΚ in edible oils using Spectrophotometry | +REG EU 2022/2104 +ΚΑΝ ΕΕ 2022/2105 Mthd-Fd-Κ |
| Fats and oils | Determination of the peroxide value | ΑΟΑC: 965.33 +REG EU 2022/2104 +REG (ΕΕ) 2022/2105 Mthd-Fd-PV |
| Detergents | 1. Determination of moisture | ΑΟΑC 925.10 Mthd-Fd-Mtr |
|  | 2. Determination of pH | In house method Μthd-wfd-ph based on AOAC: 940.22 Mthd-Wfd-pH |
| Animal feeding stuffs | Determination of moisture | ΑΟΑC 934.01 Mthd-Fd-Mtr |
| Products of animal and plant origin, bakery products and baked products | Determination of total nitrogen (protein) by the Kjeldahl method | ISO 1871:2009 AΟΑC 950.36, AOAC 991.20, AΟΑC 928.08, AΟΑC 950.36 Mthd-FD2-TKN-pr |
| Foodstuffs and animal feeding stuffs | Determination of ash | AOAC 900.02, AOAC 945.46, AOAC 923.03, AOAC 920.153, AOAC 925.51, AOAC 920.93 Mthd-Fd-Ash |
| Foodstuffs and animal feeding stuffs (liquids and solids) | Determination of pH | AOAC 943.02 Mthd-Wfd-pH |
| Plastics - materials and articles in contact with foodstuffs | Determination of overall migration into a) aqueous food simulants by total immersion and b) aqueous foods simulants by article filling | a) +CYS EN 1186-3:2022 Mthd-Fd-mic b) +CYS EN 1186-3:2022 Mthd-Fd-mic-fl |
| Water | 1. Determination of sodium | +APHA 3500(Α/Β)- Na:2023 Flame emission Spectrometry Mthd-Wtr-ΝαΚ |
|  | 2. Determination of potassium | +APHA 3500(Α/Β)- K: 2023 Flame emission spectrometry Mthd-Wtr-ΝαΚ |
|  | 3. Volumetric determination of chloride | +APHA 4500B-Cl:2023 Mthd-Wtr-Cl |
|  | 4. Volumetric determination of calcium | +APHA 3500B-Ca:2023 Mthd-Wtr-Ca |
|  | 5. Volumetric determination of total hardness | +APHA 2340C:2023 EDTA Mthd-Wtr-Hd |
|  | 6. Determination of nitrites | +APHA 4500B-NO2:2023 Mthd-Wtr-ΝΟ2 |
|  | 7. Determination of sulphates | +APHA 4500E-SO4:2023 Turbimetric method Mthd-Wtr-SO4 |
| Water and sewage | 1. Determination of alkalinity | +APHA 2320Β:2023 Titrimetric method Mthd-Wtr-Αl |
|  | 2. Determination of total organic nitrogen by the Kjeldahl method | +APHA 4500 NorgB/C:2023 Mthd-Wt-TKN |
|  | 3. Determination of Ammonia | +APHA 4500- NΗ3C:2023 Titrimetric method Mthd-Wtr-NH3 In-house method based on +APHA 4500-NΗ3Β,C:1992 Photometric method Nessler Mthd-Wtr-NH3 |
|  | 4. FOG (Fat, Oil and Grease) | +APHA 5520 Α/Β:2023 Mthd-wt-FOG |
|  | 5. Determination of conductivity | +APHA 2510 Α/Β:2023 Mthd-Wtr-CON |
|  | 6. Electrometric determination of acidity (pH) | +APHA 4500Α:2023 +REG EE 2022/2104 Mthd-Wfd-pH |
|  | 7. Determination of total Nitrogen - TN | In house method based on ISO11905-1:98 Mthd-wt-TN |
| Waters, sewage, soil, sediments | Determination of Polycyclic Aromatic Hydrocarbons- PAHs | In house method based on EPA 8310:1986 EPA 5501:1990 Mthd-wt-PAH’s |
| Waters, sewage | * Determination of Cr(VI) | +APHA 3500 Cr D/ +APHA 3500 Cr A, B 2023 Spectrophotometry Mthd-Wtr-Cr |
| Waters, sewage soil, sediments, sludges, foodstuffs, filters The accreditation is for flexible scope and concerns various categories of samples. The detailed scope can be found in in the laboratory’s website | ****Determination of anions and cations Anions Chlorides Cl-, Sulphate SO42-, Nitrates NO3-, Nitrites NO2-, Phosphates PO43-, Bromides Br- , Fluorides F- Cations Calcium Ca2+, Magnesium Mg2+, Potassium K+, Sodium Na+, Lithium Li+ | Μthd-wt-IC-a Ion chromatography +APHA 2023 (4110C) In house method based on EN/ISO14911 Μthd-wt-IC-c CYS EN 12014-2:2017 Μthd-fd-IC-NO3 |
| Foodstuffs | 1. Determination of moisture | AOAC 981.05, AOAC 925:10, AOAC 945:15, AOAC 945.21, AOAC 950.46, AOAC 926.07, AOAC 925.45 Mthd-Fd-Mtr |
|  | 2. Determination of sulfurous acid (Total) | In house method based on AOAC 990.28 ASN 3204 Application SubNote (FOSS 2100 Kjeltec Distillation Unit) Mthd-Fd-SO2 |
| Plants, foodstuffs and animal feeding stuffs The accreditation is for flexible scope and concerns various categories of samples. The detailed scope can be found in in the laboratory’s website | Determination of, Aluminum Al, Arsenic As, Barium Ba, Calcium Ca, Cadmium Cd, Chromium Cr, Copper Cu, Iron Fe, Magnesium Mg, Manganese Mn, Molybdenum Mo, NicKel Ni, Lead Pb, Antimony Sb, Selenium Se, Titanium Ti Vanadium V, Zinc Zn, Mercury Hg | In house method based on AOAC: 985.01 (ICP-OES ) Meth-fd-ICP ICP-OES |
| Fruits and vegetables with high water content (stone fruits, pome fruits, fruiting vegetables, leafy vegetables, citrus fruits, grapes, root-tuber vegetables, stem vegetables, small fruits, tropical fruits, pulses vegetables, brassica vegetables, bulb vegetables, leaf vegetables and fresh herbs, miscellaneous as referred to Regulations (EC)396/2005 and (EC)178/2006 ) | Determination of pesticides residues of: Organophosphates, Organochlorines, Pyrethrinoids, Triazoles and of: tolyfluanid, metribuzin, alachlor, captan, chlorothalonil, iprodione, procymidone, propachlor | In house multiresidue method Mthd-Fd-Pest GC-NPD-ECD/MS |
| Water and sewage | 1. Determination of COD | In house method based on +APHA 2023(5220D) Mthd-wt-COD |
|  | 2. Determination of total suspended solids | +APHA 2023(2540D) Mthd-wt-SS |
|  | 3. Determination of BOD5 | +APHA 2023(5210D) Mthd-wt-ΒOD5 |
| Sludges | 1. Determination of COD | In house method based on +APHA 2023(5220D) Mthd-wt-COD |
|  | 2. Determination of total suspended solids | In house method based on +APHA 2023(2540D) Mthd-wt-SS |
|  | 3. Determination of BOD5 | In house method based on +APHA 2023(5210D) Mthd-wt-ΒOD5 |
| Dried nuts, cereals and animal feeding stuffs The accreditation is for flexible scope and concerns various categories of samples. The detailed scope can be found in in the laboratory’s website | Determination of aflatoxines B1,G1,B2,G2 | AOACmethod (991.31) Mthd-Fd-Afl/LC HPLC–Fluorescence |
| Foodstuffs | Determination of fat by hydrolysis | AOACmethod (922.06, 989.05) Mthd-Fd-fat-hyd |
| Meat and meat products | Determination of fat by the Soxhlet method | AOAC method (960.39) Mthd-Fd-fat- sox |
| Particulate matter on air filters from atmospheric air sampling | Determination of: Lead Pb, Arsenic As, Cadmium Cd, Chromium Cr, Nickel Ni , Mercury Hg | In house method Μthd-Flt-ICP ICP-OES |
| Sorbent tubes as samples from atmospheric air sampling | Determination of VOCs | OSHA method Mthd-Fld-VOCs Gas Chromatography GC-FID |
| Soil | Determination of CaCO3 | Soil and plants analysis laboratory manual 2001, J.Ryan, G.Estephan, A.Rashid (www.icarda.org/publications.htm) Mthd - soil - CaCO3 |
| Milk and milk powder The accreditation is for flexible scope and concerns various categories of samples. The detailed scope can be found in in the laboratory’s website | Determination of aflatoxin M1 | +CYS EN ISO 14501:2021 Mthd-Fd-Μ1/LC HPLC –Fluorescence |
| Dairy products The accreditation is for flexible scope and concerns various categories of samples. The detailed scope can be found in in the laboratory’s website | Determination of aflatoxin M1 | Romer Labs diagnostics COIAC 1002 Mthd-Fd-afl/Μ1/LC HPLC –Fluorescence |
| a: Dried fruits b: Wines c: Animal feeding stuffs d: Meat products ***e: coffee The accreditation is for flexible scope and concerns various categories of samples. The detailed scope can be found in in the laboratory’s website | Determination of ochratoxin A | A. J. AOACVol 86 (6) (2003) Β. AOAC 49.6.05 (2001.01) C. AOAC 49.6.04 (2000.03) D. Food additives and contaminants, Vol 19 (6):2002 Mthd-Fd-OTA HPLC –Fluorescence |
| Foodstuffs and animal feeding stuffs | Determination of total chlorides (as NaCl) | AOAC 935.43, Mthd-Fd-NaCl |
| Foodstuffs | Determination of total dietary fibres | AOAC 985.29 Mthd-Fd-diet fiber |
| Water | Determination of THMs and 1,1,1- trichloroethane, trichloroethene, tetrachloroethene and carbontetrachloride | +APHA 6232 (A/B) 2023 Mthd-wtr-ΤΗΜs GC-ECD/NPD |
| Plastic materials and articles in contact with foodstuffs | Determination of overall migration into aqueous and fatty food simulants D1 (50% ethanol) by total immersion Determination of overall migration into aqueous and fatty food simulants D1 (50% ethanol) article filling c) Determination of overall migration into simulants substitutes of fatty foodstuffs (iso-octane, 95% ethanol) by total immersion, by total article filling and by cell method | a) +CYS EN 1186-3:2022 Mthd-Fd-mic b) +CYS EN 1186-3:2022 Mthd-Fd-mic-fl c) +CYS EN 1186-3:2022 Mthd-Fd-mic-rec |
| Plastic materials and articles in contact with foodstuffs | 1. Determination of specific migration Bisphenol A and Benzophenone into aqueous simulants 2. Determination of specific migration of Bisphenol A into fatty stimulant sun oil | In house method based on CYS EN ΕΝ 13130-13:2005, Mthd-mic-spec. HPLC Diode Array/ fluorescence detector |
| Foodstuffs of animal origin (meat and meat products) | Determination of Trenbolone, Ζeranol and Nadrolone, Testosterone, Εpitestosterone | In house method Μth-fd-Ztenm LC-MS/MS |
| Water and feeding stuffs | Determination of Τrenbolone / Zeranol |  |
| Water | Determination of dissolved oxygen in water | CYS EN ISO 5814: 2012 Mthd-Wtr-DO |
| Vegetables and vegetable products | 1. Determination of nitrate and/or nitrite ions | CYS EN 12014-2:2017 Μthd-fd-IC-NO3 Ion Chromatography |
| Potable water, surface water and well waters (underground water) | Determination of metals silver Ag, arsenic As, boron B, berilium Be, cadmium Cd, cobalt Co, chromium Cr, copper Cu, mercury Hg, manganese Mn, molybdenum Mo, nickel Ni, lead Pb, antimony Sb, selenium Se, vanadium V, titanium Ti, thalium Tl | ISO 17294-2: 2016 Mthd-Wtr-ICP-MS ICP-MS |
|  | 2. Determination of turbidity | CYS EN 7027-1:2016 Mthd-wt-tur |
|  | 3. Determination of colour | CYS EN 7887:2011 Mthd-wt-colour |
| Non-metallic products for use in contact with water The accreditation is for flexible scope and concerns various categories of samples. The detailed scope can be found in In the laboratory’s website. | Suitability test of non-metallic products for use in contact with water intended for human consumption with regard to their effect on the quality of water. Εxtraction and determination of metals: aluminum Al, barium Ba, iron Fe, arsenic As, cadmium Cd, chromium Cr mercury Hg, manganese Mn, nicKel Ni, lead Pb, antimony Sb, selenium Se, | BS 6920-2.6:2000 +A2:2014 ICP-OES technique for Αl, Ba and Fe ICP-MS technique for Αs, Cd, Cr, Hg, Mn, Ni, Pb, Sb and Se Mthd-mic-ext-met |
|  | Suitability test of non-metallic products for use in contact with water intended for human consumption with regard to their effect on the quality of water- appearance of water (colour, turbidity) | In house method based on BS 6920-2.3:2000+A1:2014 Mthd-mic-app |
|  | Suitability test of non-metallic products for use in contact with water intended for human consumption with regard to their effect on the quality of water-odour and taste of water | ΒS 6920-2.2.2: 2000+A1 2014 Section 2.2 Mthd-mic-odour-taste |
| Ceramic articles and materials in contact with foodstuffs The accreditation is for flexible scope and concerns various categories of samples. The detailed scope can be found in in the laboratory’s website | Migration test-quantitative determination of cadmium Cd and lead Pb | Method Mthd-mic-ceramics-ICP According to Directive 2005/31/EC ICP-OES |
| Foodstuffs | 1.Determination of: cadmium Cd, lead Pb, mercury Hg | In house method Mthd-Fd-ICP-MS ICP-MS |
|  | 2.Determination of acrylamide | BSI 2012/03062 Mthd-Fd-acr-LC-MS/MS LC - MS/MS |
|  | 3.Determination of sodium Na potassium K | AOAC 969.23 Mthd-Fd-NaCl Flame photometry |
|  | 4. Determination of saturated fatty acids | EN ISO 12966-1:2014 EN ISO 12966-2:2017 EN ISO 12966-4:2015 Mthd-fd-FAME GC-MS |
| Water | 1. Determination of total dissolved Solids, TDS | +APHA:2540C 2023 Mthd-wt-TDS |
|  | 2. Determination of total organic carbon, TOC | +APHA 5310 C 2023 Mthd-Wtr-TΟC/TC/IC |
|  | 3. ****Determination of dissolved organic carbon, DOC | +APHA 5310 C 2023 Mthd-Wtr-TΟC/TC/IC |
|  | 4. Determination of inorganic carbon, IC and total carbon, TC | In house method based on +APHA 5310 C 2023 Mthd-Wtr-TΟC/TC/IC |
|  | 5. Determination of cyanides | +APHA 4500-C, Ε – CN 2023 Mthd-Wtr-CN |
| Honey | 1. Determination of HMF | Hydroxymethylfurfural after White, Harmonised methods of the International Honey Commission 2009 Mthd-Fd-HMF UV Spectrophotometry |
|  | 2. Determination of Diastase activity | Diastase, determination of diastase activity after Schade, Harmonised methods of the International Honey Commission 2009 Mthd-Fd-Diast Vis Spectrophotometry |
| Honey and feeding stuffs | Determination of antibiotics residues of the categories : Amphenicoles, Tetracyclines, Fluorocinolones, Sulphonamides, Penicillin G, Trimethoprim, Tiamulin | Hammel et al., 2008 Journal Of Chromatography A 1177 58-76 Mthd-antib-LC-MS/MS LC –MS/MS |
| Fruits and vegetables with high water content (stonefruits, pome fruits, fruiting vegetables, leafy vegetables ,citrus fruits, grapes, root-tuber vegetables, stem vegetables, small fruits, tropical fruits, pulses vegetables, brassica vegetables, bulb vegetables, leaf vegetables and fresh herbs, miscellaneous as referred to Regulations EC 396/2005 and EC 178/2006) | *Determination of residues of pesticides 2,6-dichlorbenzamide, 2.3.5 trimethacarb 3 chloroaniline 4 chloroaniline 4,4-dichlorobenzophenone 6-chloro-4-hydroxy-phenyl-pyridazine abamectin b1b abamectin -b1a acephate,acetamiprid acibenzolar-s-methyl aldicarb sulfone aldicarb sulfoxide ametoctradin ametryn aminocarb anilazine anilofos aspon atraton,atrazine azaconazole,azadiractine azamethiphos,azinphos methyl azoxystrobin,benalaxyl benazolin-ethylester bendiocarb benodanil** benoxacor bensulfuron-methyl bentazone,benzoximate benzoylprop-ethyl bioallethrin,bitertanol boscalid,bromacil bromfenvinfos bromobutide bromuconazole bupirimate,buprofezin butachlor,butralin buturon,cadusafos cambendazole carbaryl,carbetamide carbofuran,carboxin carfentrazone-ethyl chlorantraniliprole chlorbromuron chloroxuron chlorpropham chlorpropham 2 chlorpyrifos chlorthal-dimethyl chlorthiophos | In house method Mthd-Fd- pest-LC-MS/MS LC-MS/MS |
|  | cinerin I,cinerin ii,clethodim climbazol clodianfop-propargyl clomazone cloquintocet-mexyl clothianidin coumachlor coumaphos crimidin cyanazine cyazofamid cycloxydim cycluron cyflufenamid cyflumetofen cymoxanil cyproconazole cyprodinil cyromazine ,cythioate DDAC,DEET demeton-s-methyl demeton-s-methyl sulfone desmedipham desmethyl-formamido-pirimicarb desmethyl-pirimicarb desmetryn diafenthiuron diazinon,dicapthon dichlobenil,dichlomid dichlorvos diclobutrazol dicrotophos diethofencarb difenoconazole difenoxuron difenzoquat,diflubenzuron dimefuron,dimethachlor dimethipin,dimethirimol dimethoate,dimethomorph dimethomorph-isomer dimethylvinphos dimoxystrobin,diphenamid dipropetryn,disulfoton-sulfon diuron ,dodemorph droquinazide,emamectin b1b emamectin benzoate,epoxiconazole esprocarb,etaconazol,ethalfuralin |  |
|  | Ethiofencarb,ethiofencarb sulfone ethiofencarb sulfoxide,ethion ethiprole,ethirimol,ethofumesate etoxazole,etrimfos famoxadone,famphur fenamidone,fenamiphos fenamiphos sulfone fenamiphos sulfoxide fenazaquin,fenbutatin-oxide fenfuram,fenhexamid fenobucarb,fenoxanil fenoxaprop-p,fenoxycarb, fenpiclonil fenpropidin,fenpropimorph fenpyrazamine,fenpyroximate fensulfothion, fenuron,flamprop flamprop-isopropyl,flonicamid, florasulam fluazifop-p-butyl fluazinam flufenacet flufenacet flufenoxuron flumetosulam fluometuron fluopicolide fluopyram fluoroglycofen-ethyl fluoxaprop-p-ethyl fluridone flurpirimidol flurtamone flusilazole fluthiacet-methyl flutolanil flutriafol forchlorfenuron formetanate-HCl formothion fosthiazate fuberidazole furalaxyl,furathiocarb furmecyclox halosulfuron-methyl haloxyfop,haloxyfop-2-ethoxyethyl haloxyfop-p-methyl |  |
|  | Heptenophos,hexaconazole Hexazinone,hexythiazox Hymexazol,imazalil imazamethabenz-methyl imazethapyr,pretilachlor imazapic,imidacloprid indoxacarb,ioxathion ioxynil,iprodione iprovalicarb isazophos,isocarbamid isofenphos,isofenphos-methyl isoprocarb,isoprothiolane isoproturon,isopyrazam isoxaben,isoxathion jasmolin I,kresoxim-methyl lactofen,lenacil linuron,malaoxon,malathion mandipropamid, mefenacet mephosfolan mepronil metaflumizone metalaxyl metazachlor metconazole methacrifos methamidophos methidathion methiocarb methiocarb sulfone methiocarb sulfoxide methomyl methomyl-oxime methoprotryne methoxyfenozide metobromuron metolachlor metrafenone metribuzin mevinphos mexacarbate molinate monocrotophos monolinuron monuron myclobutanil nabam napropamide neburon |  |
|  | nicosulfuron nitralin nitrapyram nuarimol omethoate orbencarb oryzalin oxadiazon oxadixyl oxamyl paraoxon-ethyl penconazole pencycuron pendimethalin penoxsulam,penthiopyrad pethoxamid,phenmedipham phorat-sulfoxide,phosalone phosmet,phosmet oxon phosphamidon mix e+z isomers phoxim,picoxystrobin pinoxaden,piperophos pirimicarb,pirimiphos methyl profenophos,promecarb, prometon,prometryn propamocarb,propazine prophos, propiconazole propoxur,propyzamide proquinazid,prosulfocarb prothioconazole-desthio pymetrozin,pyraclostrobin pyrethrin i,pyrethrin ii pyridaben,pyridaphenthion pyridat,pyrimethanil pyriproxyfen,pyroquilon pyroxsulam,quinalphos quizalfop free acid quizalofop-p,rotenone siduron,simeconazole simetryn,s-metolachlor spinetoram spinosad A |  |
|  | spinosad D spirodiclofen spirotetramat spirotetramat cis-keto-hydroxy spirotetramat cis-enol spirotetramat enol-glucoside spirotetramate mono-hydroxy, spiroxamine sulfoxaflor sulprofos thiabendazole TCMTB tebuconazole tebufenpyrad tebupririmphos tebutam tebuthiuron teflubenzuron temephos terbufos-sulfoxide terbumeton terbuthylazine terbutryn tetrachlorvinphos thiacloprid thiamethoxam thiobencarb thiodicarb thiofanox thiofanox sulfone thiofanox-sulfoxide thiophanate methyl tolfenpyrad tralkoxydim triadimefon triadimenol triazophos,trichlorfon triticonazole, tritosulfuron tricyclazole trietazine,trifloxystrobin trifloxysulfuron sodium triflumizole triflumuron triforine triforine 2 warfarin zoxamide |  |
| Fruits and vegetables high water content (stone fruits, pome fruits, fruiting vegetables, leafy vegetables ,citrus fruits, grapes, root-tuber vegetables, stem vegetables, small fruits, tropical fruits, pulses vegetables, brassica vegetables, bulb vegetables, leaf vegetables and fresh herbs, miscellaneous as referred to Regulations (EC)396/2005 and (EC)178/2006 ) | *Determination of pesticide residues Aclonifen,acrinathrin Alachlor,aldrin Ametryn,atrazine Benfluralin,BHC-alpha, bifethrin Bromophos,bromopropylate Bupirimate,butylate chlormephos chlorpyrifos chlorpyrifos_methyl, cyanophos cycloate,cyfluthrin gamma-cyhalothrin lamda-cyhalothrin cypermethrin, deltamethrin dichlofenthion dieldrin, disulfoton endosulphan ether alpha endosulphan beta-endosulhan endosulphan-sulhpate endrin,EPN,esfenvalarate etofenprox,etoxazole etridiazole, fluotrimazole heptachlor,heptachlor-epoxide hexachlorobenzene ipropenfos,isazophos isodrin,metazachlor metrafenone,mirex, parathion, pentachlorobenzene permethrin, phenthoate 2-phenylphenol piperonyl-butoxide, profluralin propachlor,propargite propazine,propetamphos ronnel(fenchlorphos), spiromesifen sulprofos,tecnazene tefluthrin,tetradifon tetramethrin,tolyfluanid triallate,trifluralin 1,2,3-trichlorobenzene 1,2,4-trichlorobenzene vinclozolin | In house method Mthd-Fd- pest-GC-MS/MS GC-MS/MS |
| Products of plant origin with high fat content. | ** Determination of residues of pesticides 2,6-dichlorbenzamide Allethrin Ametoctradin Ametryn Aminocarb Anilofos Atrazine Azaconazole Azinphos-methyl Benodanil Benoxacor Benzoylprop-ethyl Bromfenvinfos Bromobutide Buturon Carboxine Carfentrazone-ethyl Chlorbromuron Chloridazon Chlorotoluron Chloroxuron Chlorthal-dimethyl Clofentezine Clomazone Coumachlor Crimidine Cycluron Cyflufenamid Cyprodinil Cythioate DEET Desmethyl-pirimicarb Desmetryn Dichlomid Diclobutrazol Difenoxuron Dimefuron,Dimethachlor,Dimethirimol Dimethylvinphos ,Dimoxystrobin Diphenamid,Dipropetryn Diuron,Dodemorph,Epoxiconazole Esprocarb,Etaconazole Ethalfuralin,Ethiprole Ethirimol,Ethofumesate Etrimfos,Famphur Fenamidone, | In-house method based on QuEChERS. Technique LC-MS/MS |
|  | Fenamiphos Fenamiphos sulfone Fenamiphos sulfoxide Fenarimol Fenfuram Fenpiclonil Fenpropidin Fenpropimorph Fenpyrazamine Fensulfothion Fenthion sulfoxide Fenuron Florasulam Flumetosulam Fluopyram Fluridone Flurochloridon Flurpirimidol Flurtamone Flusilazole Flutriafol Fuberidazole Furalaxyl Imazamethabenz-methyl Imazapic,Imazethapyr Isocarbamid,Isocarbophos Isofenphos,Isofenphos-methyl Isoprothiolane,Isoxaben Isoxathion,Mephosfolan Mepronil,Metazachlor Metconazole,Methoprotryne Methoxyfenozide,Metobromuron Metolachlor,Metolcarb Metoxuron,Metrafenone Metribuzin,Mevinphos Molinate,Monolinuron Monuron,Napropamide Neburon,Nitenpyram Nitrapyram Nuarimol Omethoate Orbencarb Oxadiazon |  |
|  | Oxamyl Paclobutrazol Paraoxon-ethyl Pethoxamid Phenylurea Phorat-sulfoxide Phosalone Phosphamidon Picoxystrobin Pinoxaden Piperophos Pirimicarb Pirimiphos methyl Profenophos Prometryn Propiconazole Pyridaphenthion Pyrimethanil Pyroquilon Pyroxsulam Quinalphos Quizalofop-p-ethyl Rotenone Simeconazole Simetryn s-Metolachlor Spirotetramat cis-enol Spirotetramat enol-glucoside Spirotetramat mono-hydroxy Spiroxamine TCMTB (busan) Tebuconazole Tebupririmphos Tebutam Tebuthiuron Terbumeton Terbuthylazine Terbutryn,Tetrachlorvinphos Thiobencarb,Tralkoxydim Triadimefon,Triadimenol Triazophos Tricyclazole Trietazine Trifloxysulfuron sodium Triticonazole Tritosulfuron Warfarin |  |
| Cereals, legumes and dried nuts | Determination of pesticide residues Abamectin B1a, Abamectin B1b, Acephate, Acetamiprid, aldicarbsulfone, aldicarbsulfoxide, Azadirachtin, azamethiphos, azoxystrobin, Benalaxyl, Bentazone, Bioallethrin, Bitertanol, Boscalid, Bromacil, bromuconazole, Cadusafos, Carbaryl, carbetamide, Carbofuran, chlorantraniliprole,4chloroaniline,chlorpropham,chlorpyrifos,CinerinI,CinerinII,coumaphos, Cycloxydim, Cymoxanil, cyproconazole, Cyromazine, desmedipham, Diazinon, diethofencarb, Dichlorvos, difenoconazole, Dimethoate, dimethomorph, emamectinbenzoate, ethiofencarb, ethiofencarbsulfone, Ethion, famoxadone, Famphur, fenamiphos, fenbutatinoxide, Fenhexamid, Fenobucarb, Fenoxycarb, Flonicamid, fluazifop-p-butyl, Fluazinam ,Flufenacet, flufenoxuron, Fluopicolide, formetanate-HCl, furathiocarb, heptenophos, hexaconazole, Hymexazol, Imazalil, imidacloprid, Indoxacarb, Iprovalicarb, Isoprocarb, Isoproturon, JasmolinI, kresoxim-methyl, Lenacil, Linuron, Malathion, mandipropamid, Mefenacet, metaflumizone, Metalaxyl, methamidophos, methidathion, Methiocarb, methiocarbsulfone, methiocarbsulfoxide, Methomyl, Metribuzin, myclobutanil, Oxadixyl, penconazole, Pencycuron, pendimethalin, phenmedipham, Phosmet, Pirimicarb, pirimiphosmethyl, prometon, propamocarb-HCl, propazine, prophos, propoxur, propyzamide, prosulfocarb, pymetrozin, pyraclostrobin, PyrethrinI, PyrethrinII, pyridat, pyriproxyfen, Spinosad A, Spinosad D, spirodiclofen, spirotetramat, Spirotetramatmetabolite BY108330 mono-hydroxy, tebuconazole, tebufenpyrad, thiabendazole, thiacloprid, thiamethoxam, thiodicarb, thiofanox, thiofanoxsulfone, thiophanatemethyl, triadimefon, triadimenol, trifloxystrobin, triflumizole, triforine, 2.3.5 trimethacarb, zoxamide | In house method Mthd-Fd- pest-LC-MS/MS LC-MS/MS |
| Cereals, legumes and dried nuts | *Determination of residues of pesticides Acrinathrin, alachlor,aldrin,bifethrin Bromophos,bromopropylate Bupirimate,butylate,chlormephos Cyanophos,cycloate lamda-cyhalothrin DDD-o,p,DDD-p,p,DDE-p,p Dieldrin,dinitramine endosulphan ether alpha endosulphan, beta-endosulphan,endrin esfenvalarate,etofenprox etoxazole,fenitrothion fenson,fenthion, tau fluvalinate,heptachlor heptachlor-epoxide, hexachlorobenzene,isodrin metazachlor,mirex ofurace,parathion parathion-methyl pentachlorobenzene 2-phenylphenol Propachlor,propazine ronnel(fenchlorphos) spiromesifen,spiroxamine i spiroxamineii,tecnazene tefluthrin,tetradifon triallate,vernalate vinclozolin | In house method Mthd-Fd- pest-GC-MS/MS GC-MS/MS |
| Milk and Dairy products | *Determination of pesticide residues 2,6-dichlorbenzamide, abamectin-b1a acibenzolar-s-methyl albicarb sulfone, ametoctradin aminocarb, anilofos,atraton atrazine,azaconazole,azamethiphos Azoxystrobin,benalaxyl,benodanil benzoylprop-ethyl,boscalid bromfenvinfos,bromobutide buprofezin,buturon carbentamide,carbofuran carboxine,carfentrazone-ethyl chlorantraniliprole,chlorbromuron chloridazon,chlorotoluron chloroxuron,clethodim,climbazol clomazone,coumachlor,crimidin cyanazine,cycloxydim, cycluron cyflufenamid,cymoxanil cyproconazole,cyprodinil cythioate,deet, demeton-s-methylsulfone desmethyl-pirimicarb desmetryn,dichlorvos,diclobutrazol dicrotophos,dimefuron, dimethachlor dimethirimol, dimethomorph dimethomorph-isomer dimethylvinphos, dimoxystrobin diphenamid,dipropetryn ditalimphos,diuron epoxiconazole etaconazol,ethiofencarb ethiofencarb-sulfone ethiofencarb-sulfoxide ethiprole,ethirimol,etrimfos,famphur fenamidone,fenamiphos fenamiphos sulfone, fenamiphos sulfoxide | In-house method based on QuEChERS. Mthd-pest-milk LC-MS/MS |
|  | fenarimol,fenfuram, fenhexamid fenoxanil,fenpropimorph, fensulfothion, fenthion sulfoxide,fenuron flamprop-isopropyl florasulam,flumetosulam fluopyram,fluoxaprop-p-ethyl fluridone,flurtamone flutriafol,fuberidazole furalaxyl,haloxyfop haloxyfop-p-methyl hexaconazole,imazalil imazamethabenz-methyl imidacloprid,isocarbamid isofenphos,isofenphos-methyl isoprothiolane,isoproturon isopyrazam,isoxaben linuron,mandipropamid mefenacet,mephosfolan mepronil,Metalaxyl metazachlor,methiocarb sulfoxide methiocarb,methiocarb-sulfone methomyl, methoprotryne methoxyfenozide,metobromuron metolachlor,metolcarb metoxuron,metrafenone metribuzin,mevinphos, mexacarbate molinate,monocrotophos monolinuron,monuron napropamide,neburon nicosulfuron,nitenpyram nitralin, nitrapyram,omethoate orbencarb,oxadixyl,paclobutrazol paraoxon-ethyl, pencycuron, penoxsulam,pethoxamid,phenylurea phoxim,picoxystrobin,pinoxaden piperophos,Pirimicarb, pirimiphos methyl ,pretilachlor profenophos, prometon, |  |
|  | Prometryn, propazine,prophos Propiconazole,prosulfocarb Pyridaphenthion,pyrimethanil Pyroquilon,pyroxsulam Quinalphos,quizalofop-p-ethyl rotenone,simeconazole simetryn,s-metolachlor spirotetramat,spirotetramatcis-enol spirotetramat mono-hydroxy tebutam,tebuthiuron,terbumeton terbuthylazine,terbutryn, tetrachlorvinphos,thiacloprid thiamethoxam,thiobencarb triadimefon,triadimenol triazophos,tricyclazole trietazine,trifloxystrobin triflumuron,triticonazole warfarin,zoxamide |  |
| Wine | *Determination of pesticide residues 2,6-dichlorbenzamide Acetamiprid, albicarb sulfone Ametoctradin,aminocarb Anilofos,atraton,atrazine Azaconazole,azamethiphos Benalaxyl,benodanil benzoylprop ethyl,boscalid bromobutide,buprofezin butralin,buturon,carbofuran carboxine,carfentrazone ethyl chlorbromuron,chloridazon chloroxuron,chlorpyrifos chlorthal dimethyl,clethodim climbazol,clomazone coumachlor,cycluron cyflufenamid,cymoxanil cyromazine,deet demeton-s-methylsulfone desmethyl-pirimicarb desmetryn,diazinon,dichlorvos, diclobutrazol,dicrotophos, difenoconazole,difenoxuron dimefuron,dimethachlor dimethirimol,dimethylvinphos dimoxystrobin,diphenamid dipropetryn,diuron dodemorph,droquinazide epoxiconazole,esprocarb etaconazol,ethiofencarb ethiofencarb sulfone ethiofencarb sulfoxide ethiprole,ethirimol etrimfos,famphur fenamidone,fenamiphos fenamiphos sulfone fenamiphos sulfoxide fenfuram,fenhexamid fenoxanil,fenpropidin fenpropimorph fenpyrazamine fensulfothion fenuron,flamprop isopropyl florasulam,fluazifop-p-butyl | In-house method based on QuEChERS. Mthd-pest-wine LC-MS/MS |
|  | Fenuron, flamprop isopropyl, Florasulam, fluazifop-p-butyl flufenacet, flumetosulam, fluopicolide, fluopyram, fluoxaprop-p-ethyl,fluridone,flurpirimidol,flurtamone, flusilazole,flutriafol,fuberidazole furalaxyl,furathiocarb haloxyfop,haloxyfop-p-methyl hexaconazole,imazalil imazamethabenz-methyl imazethapyr,imidacloprid isocarbamid,isofenphos isoprothiolane,isoproturon isopyrazam,isoxaben isoxathion,linuron,mandipropamid mefenacet,mephosfolan,mepronil metalaxyl,metazachlor, methamidophos, methiocarb sulfoxide methiocarb,methiocarb-sulfone methomyl,methoprotryne, metobromuron,metolachlor, metoxuron,metrafenone,metribuzin, mevinphos,mexacarbate monocrotophos,monolinuron napropamide,neburon,nitrapyram orbencarb,oxadiazon paraoxon-ethyl,pencycuron pethoxamid,phorat-sulfoxide phosalone,phosphamidon phoxim,picoxystrobin,pinoxaden piperophos,pirimicarb pirimiphos methyl,pretilachlor profenophos,prometon propamocarb,propazine prophos,propoxur,prosulfocarb pyraclostrobin,pyridaphenthion pyrimethanil,pyriproxifen pyroquilon,quinalphos quizalofop-p-ethyl,rotenone siduron,simeconazole simetryn,s-metolachlor, spinosad A spinosad S,spirotetramat, Spirotetramat cis-enol,spiroxamine,tebuthiuron terbumeton,terbuthylazine terbutryn, tetrachlorvinphos Triazophos,tricyclazole,trietazine Trifloxystrobin,trifloxysulfuron sodium Triflumuron,triticonazole,Warfarin |  |
| Fruits and vegetables with high water content (stonefruits, pome fruits, fruiting vegetables, leafy vegetables ,citrus fruits, grapes, root-tuber vegetables, stem vegetables, small fruits, tropical fruits, pulses vegetables, brassica vegetables, bulb vegetables, leaf vegetables and fresh herbs, miscellaneous as referred to Regulations (EC)396/2005 and (EC)178/2006 ) | *Single method- pesticides (polar pesticides) * Ethephon ** Glyphosate ***Aluminum fosetyl ***Chlorates | Modified QuPPe-PO-Method Version 10.1 (EURL-SRM) and AN64868-EN 1016 Mthd-pest-polar LC-MS/MS |
| Cereals, legumes and dried nuts | Determination of residues of 25 pesticides Alphaendosulfan, betaendosulfan, betacyfluthrin, bromophosmethyl, cadusafos, chlorpyriphosmethyl, carbosulfan, cypermethrin, diazinon, dinitramine, endosulphansulphate, ethoprophos , fenchlorphos, lambdacyhalothrin, ofurace, parathionethyl, parathionmethyl, penconazole, procymidone, spiromesifen, tau-fluvalinate, tefluthrin, tolylfluanid, trifluralin, vernolate | In house method Mthd-Fd-pest-ΜΡ GC-and GC-MS |
| Fruit and vegetables with high water content | * Determination of pesticide residues of the dithiocarbamates category,(maneb, mancozeb, metiram, thiram, ziram, propineb) | In house method Mthd-Fd-DTCs GC MS/MS |
| Water | Determination of Acrylamide | In house method Mthd-wt-acr-LC-MS/MS LC-MS/MS |
| Waters, soil/ sediments/ sludges | ****Determination of PCBs | Mthd-sl-wt-PCBs based on EPA 8082a GC- ECD |
| Water | Determination of pesticide residues Alachlor, Aldrin, Alpha-endosulfan Beta-cyfluthrin, Beta-endosulfan , BHC, Bifethrin, Bioallethrin Bromophos-methyl Chlorpyrifos-methyl Cyphenothrin, Dieldrin Difenoconazole, Endosulfan-ether Endosulfan-sulfate, Ethion Fenchlorphos Heptachlor Heptachlor epoxide Hexaconazole , Lambda-cyhalothrin Methidathion, Myclobutanil Ofurace, Penconazole, Prallethrin Propachlor, Tefluthrin, Triallate Vinclozolin, Acetamiprid Azoxystrobin, Benalaxyl, Bitertanol Boscalid, Bromuconazole Cadusafos, Carbetamide Chlorpyrifos, Cyproconazole Diazinon, Diethofencarb, Dimethoate, Ethion, Fampur Isoproturon, Iprovalicarb Kresoxim-methyl, Lenaci, Linuron Mefenacet, Metalaxyl Methiocarb, Methiocarb sulfoxide Methomyl, Metribuzin, Myclobutanil Oxadixyl, Penconazole, Pencycuron Pendimethalin, Pirimicarb Pirimiphos-methyl, Prophos Propoxu, Propyzamide Prosulfocarb, Pyraclostrobin Thiacloprid, Thiabendazole Triadimenol, Triflumizole Zoxamide | EPA 525.3 Mthd-wt-pest-GC-LC LC-MS/MS GC-MS/MS |
| Water (continue) *** Potable water, surface water, sea water | Acibenzolar-S-methyl Ametoctradin Ametryn Anilofos Atrazine Azaconazole Benodanil Benoxacor Benzoylprop-ethyl Bitertanol Boscalid Bromfenvinfos Bromobutide Buprofezin Buturon Chlorantraniliprole Chlorotoluron Chloroxuron Clomazone Coumachlor Crimidin Cyflufenamid Cyproconazole Desmetryn Diclobutrazol Difenoxuron Diflubenzuron Dimefuron Dimethachlor Dimethomorph Dimethylvinphos Dimoxystrobin Diphenamid Dipropetryn Epoxiconazole Esprocarb Etaconazol Ethiofencarb Etrimfos Fenamidone ,Fenarimol Fenfuram Fenhexamid Fenoxanil Fenpiclonil Fensulfothion Flamprop-isopropyl Flufenacet Lenacil Fluridone Flurtamone Flusilazole Flutolanil Flutriafol Fuberidazole Furalaxyl Furathiocarb Hexaconazole Imazapic Isofenphos-methyl Isoprothiolane Isopyrazam Isoxaben Kresoxim-methyl Lenacil Mandipropamid Mepronil Metalaxyl Metazachlor Methiocarb Methoprotryne Methoxyfenozide Metobromuron Metolachlor Monolinuron Napropamide Neburon Nuarimol oxadiazon Paclobutrazol Paraoxon-ethyl Pethoxamid, Phoratsulfoxide Picoxystrobin, Piperophos Promecarb,Prometon, Propazine Prophos, Propiconazole Prosulfocarb, Pyridaphenthion Pyrimethanil, Simeconazole Simetryn s-metolachlor Spiroxamine Sulfotep Tebufenpyrad Tebupririmphos Terbutryn Tetrachlorvinphos Thiacloprid Tralkoxydim Triadimefon Triazophos Trifloxystrobin Triflumuron Zoxamide azoxystrobin benalaxyl bromuconazole carbetamide diazinon, thiabendazole triflumizole, triadimenol pirimicarb pirimiphos methyl penconaziole , benfluralin butylate, cycloate, dichlofenthion dieldrin, endosulfan-ether endrin, propachlortriallate trifluralin, vernolate | EPA 525.3 Mthd-wt-pest-GC-LC LC-MS/MS GC-MS/MS |
| Potable water, surface water, well waters (underground water), liquid and solid sewage plants, foodstuffs and animal feeding stuffs, particulate matter on air filters from atmospheric air sampling, non-metallic products for use in contact with water , ceramic articles and materials in contact with foodstuffs | Determination of metals in a flexible field (based on CYS-CYSAB procedure OP 15), as described in detail in the QCL-09 Accredited Activities Catalogue Form F-ILAB-112-2 | Techniques ICP-OES and ICP-MS |
| Dried fruits, nuts,cereals , wines,animal feeding stuffs ,meat products The accreditation is for flexible scope and concerns various categories of samples. The detailed scope can be found in in the laboratory’s website | Determination of mycotoxins in a flexible field (based on CYS-CYS AB procedureOP 15), as described in detail in the QCL-09 Accredited Activities Catalogue Form F-ILAB-112-2 | Technique HPLC - Fluorescence |
| Foodstuffs | Determination of sorbic and benzoic acids | 664.8.035:543.544 Nordic Committee on Food Analysis HPLC Mthd-Fd-Presv/LC UDC |
| Fish and fisheries products | Determination of histamine | In house method based on ISO 19343:2017 and article T.C. de Fiqueiredoet al./Talanta 142(2015) 240-245 HPLC, LC MS/MS Mthd-Fd-mod-His |
| Waters | Determination of chlorophyll α and pheophytin a | In house method based on EPA Method 446.0/ +APHA 10200 H:2023 Vis spectrometry Mthd-wt-chlor |
| Soil / Sediments/ Sludges | Determination of Nitrates | ICARDA 5.9.3 /merk spectroquart Mthd-soil-ΝΟ3 |
|  | Determination of Nitrites | In house method based on +APHA 4500 B– NO2 2023 ICARDA 5.9.3 Mthd-soil-ΝΟ2 |
|  | Determination of Ammonium | In house method based on +APHA 4500- NH3- F:2023 ICARDA 5.9.4 Mthd-Soil-ΝΗ3 |
|  | Determination of phosphates | In house method based on +APHA 4500-P E: 2023 ICARDA 5.10 Mthd-soil-PO4 |
|  | Determination of Total Nitrogen KJELDAHL ΤΚΝ and organic nitrogen | In house method based on +APHA 4500- NorgB: 2023 Mthd-soil -TKN |
|  | Determination of organic matter, oxidizable organic carbon, and total organic carbon by method Walkley-Black. | ICARDA 5.5 Mthd-soil-ΤΟC |
|  | Determination of organic matter 380 °C | NCEA-C-1282 Mthd-soil-OM |
| Sea water *** Potable water, surface water, underground water | Determination of volatile organic compounds (VOCs, BTEX) | EPA 8260D (SW-846)/ EPA 5030C/ EPA Method 5035s Purge and Trap technique and GC-MS Mthd-VOC-P&T |
| Sediments / Soil / Sludges | Determination of Volatile organic compounds (VOCs, BTEX) | EPA 8260D (SW-846)/ EPA 5030C/ EPA Method 5035s Mthd-VOC-P&T Purge and Trap technique and GC-MS |
| Sea water | Determination of Total Recoverable Petroleum Hydrocarbons (TRPH /TPH) | EPA 3550C /ΕPA 8015 Mthd- sd-wt-TPH GC-FID/MS |
| Sediments / Soil / Sludges | Determination of Total Recoverable Petroleum Hydrocarbons (TRPH /TPH), | EPA 3550C /ΕPA 8015 Mthd- sd-wt-TPH GC-FID/MS |
| Sea water | Determination of total and aliphatic hydrocarbons (by calculation) | EPA3550C /ΕPA8015 EPA 8260D (SW-846) EPA 8260D (SW-846)/ EPA Method 550 |
| Soil / Sediments / Sludges | Determination of total and aliphatic hydrocarbons (by calculation) | EPA 3550C /ΕPA 8015 EPA 8260D (SW-846) EPA 8260D (SW-846)/ EPA Method 550 |
|  | Determination of NPD and Decalines | EPA 8310/ EPA 3550 Mthd-sd-NPD-Decaline GC-MS/MS |
|  | Grain size analyses | ISO 11277:2009 ISO11277:2020 ISO 11464:2006 Mthd-Soil-SV-SD |
|  | ****Determination of pH | CYS EN ISO 10390:2021 Mthd-Wfd-Ph |
|  | ****Determination of conductivity | ISO 11265:1994 Mthd-Wtr-CON |
| Microbiological Testing |
| Potable Water, Surface Water, Swimming pool water, Sea water, Well waters (underground water) | 1. Enumeration of total coliforms | +APHA 9222Β:2023 Mthd-WF-CL |
|  | 2. Enumeration of culturable microorganisms | CYS EN 6222:1999 Meth-wf-tvc |
|  | 3. Detection and enumeration of intestinal enterococci | EN ISO 7899-2:2000 Mthd-wtr-str-iso |
|  | 4. Detection and enumeration of Staphylococcus | +APHA 2023 (9213B) Mthd-Wr-staph |
|  | 5. Detection and enumeration of Pseudomonas aeruginosa | CYS ISO 16266: 2008 Mthd-wtr-Pseud |
| Potable water, Surface water, Swimming pool water, Well waters (underground water) | 1. Enumeration of fecal coliforms | +APHA 9222D:2023 Mthd-WF-CL |
|  | 2. Detection and enumeration of the spores of sulfite-reducing anaerobes (clostridia) | ISO 6461-2:1986 Mthd-wtr-clostr |
| Potable water, Swimming pool Water (waters with low bacterial counts) | Detection and enumeration of coliforms and Escherichia coli | EN ISO 9308-1:2014+A1:2017 Mthd-wtr-e.coli |
| Surface waters, Well waters (underground water) (waters with low bacterial counts) | Detection and enumeration of coliforms and Escherichia coli | In house method based on EN ISO 9308-1:2014+A1:2017 Mthd-wtr-e.coli |
| Potable water, Surface water, Swimming pool water, Well waters (underground water), closed circuit waters with low bacterial counts | Detection and enumeration of Legionella | ISO 11731-2:2017 Mthd-wtr-Leg Membrane filtration |
| Potable water, Surface water, swimming pool , sea water , well waters (underground water) | Detection and enumeration of fecal streptococci | ΕΛΟΤ: 947.2:1996 Mthd-wtr-str |
| Sewage | 1. Enumeration of total coliforms | +APHA 9222Β:2023 Mthd-wtr-waste-E.coli |
|  | 2. Enumeration of E. Coli | +APHA 9222 I:2023 Mthd-wtr-waste-E.coli |
| Waters and Sewage | 1. *Salmonella | ISO 19250: 2013 Mthd-Wtr-sal-iso |
|  | 2. **Enumeration of Clostridium perfringens | CYS EN ISO 14189:2013 Μthd-wtr-clostr-N |
| Waters, sewage, sludges | ****Intestinal warms | ISBN 92 4 154484 8 Mthd-waste-intest. |
| Foodstuffs | 1. Detection of enterotoxins staphylococci using VIDAS | VIDAS®Staph Enterotoxin II of Biomerieux SA. Validation certificate from ΑΟΑC No 070404 Mthd-Fd-staph enter |
|  | Detection of potentially enteropathogenic Vibrio spp - Vibrio parahaemolyticus | ISO 21872-1: 2017/ AMD 1:2023 Mthd-fd-vibrio |
|  | *3. Enumeration of mesophilic lactic acid at 300C | ISO 15214: 1998 Mthd-fd-LA |
|  | Enumeration of cuagulase positive Staphylococcus aureus | AOAC 975.55 Mthd-Fd-st.aureus |
|  | 5. Enumeration of yeast & mould | AOAC ch 18 Mthd-Fd-Y/M |
| Animal feeding stuffs | Enumeration of cuagulase positive Staphylococcus aureus | In house metod based on AOAC 975.55 Mthd-Fd-st.aureus |
|  | Enumeration of yeast & mould | In house metod based on AOAC ch 18 Mthd-Fd-Y/M |
| Foodstuffs and animal feeding stuffs | 1. Enumeration of total coliforms | ISO 4832:2006 Mthd-WF-CL |
|  | Enumeration of total microorganisms at 300C | ISO 4833-1:2013 Amd 1:2022 Mthd-WF-TVC |
|  | 3. Enumeration of β-glucuronidase positive Escherichia coli | ISO 16649-2:2001 Mthd-Wf-Ecoli |
|  | 4. Enumeration of enterobacteriaceae | ISO 21528-2:2017 Mthd-Fd-enter |
|  | 5. Horizontal method for the enumeration of Bacillus cereus at 300C | EN ISO 7932:2004 Amd 1 :2020 Mthd-Fd-Βac |
|  | 6. Enumeration of Clostridium perfrigens | CYS EN ISO 7937:2004 Mthd-Fd-clostr |
|  | 7. Horizontal method for the detection and enumeration of Listeria monocytogenes and of Listeria spp. -- Part 1: Detection method | CYS EN ISO 11290-1:2017 Mthd-Fd-L. monoc./κατ-isο |
|  | Detection of Listeria monocytogenes in food and animal feeding stuffs | VIDASBiomerieux- LMO2- Validation certificate AFAQ/AFNORBIO 12/09-07/02 Mthd-Fd-afn |
|  | 8. Horizontal method for the detection and enumeration of Listeria monocytogenes and of Listeria spp. - Part 2: Enumeration method | ISO 11290-2:2017 Mthd-Fd-L.monoc./kat-iso |
|  | 9. Enumeration of Listeria monocytogenes | ISO 11290-2:2017 Mthd-Fd-L.monoc./κατ-iso |
|  | 10. Detection of Campylobacter spp | CYS EN ISO 10272-1:2017 Amd 1:2023 Mthd-Fd-camp.spp |
|  | 11. Enumeration of Campylobacter spp | CYS EN ISO 10272-2:2017 Amd 1:2023 Mthd-Fd-Camp-κατ |
|  | 12. Detection of Salmonella spp (Except of S. typhi & S. paratyphi) | CYS EN ISO 6579-1:2017 +A1:2020 Mthd-Fd-sal-iso |
|  |  | VIDAS® Salmonella (SLM) Validation certificate AFNOR BIO 12/01-04/94 Mthd-fd-sal-afn |
|  | 13. Detection of Salmonella spp | VIDAS® Up Salmonella AFNOR BIO 12/32-10/11 Μthd-fd-sal-UP-afn |
| Animal faeces and Environmental samples from stages of primary production | Detection of Salmonella spp (Except of S. typhi & S. paratyphi) | CYS EN ISO 6579-1:2017 +A1:2020 Mthd-Fd-sal-iso |
| Materials for use in contact with water | Suitability of non-metallic products for use in contact with water intended for human consumption with regard to their effect on the quality of water. Growth of aquatic microorganism test | BS 6920-2.4 2000+A1 :2014 Mthd-mic-org |
| Chemical disinfectants and antiseptics | Quantitative suspension test for the evaluation of bactericidal activity of chemical disinfectants and antiseptics used in food, industrial, domestic and institutional areas. Dilution - neutralization method | CYS EN 1276:2009 Mthd-micro-dis |
| Air | Microbiological air quality in controlled environment | CYS EN ISO 14698-1:2003 Μthd-air quality |
| Potable water, Surface water, Sea water, Well waters (underground water) | Detection and enumeration of Clostridia perfringens bacteria and spores. | CYS EN ISO 14189:2013 |
| Serotypes of Salmonella spp | Serotyping of Salmonella- S. enteritidis and S. typhimurium | ISO/TR 6579-3:2014 Mthd-Salm-Ser |
| Liquid Fuels | Enumeration of heterotrophic microorganisms and fungi | ASTM –D 6974-20 Mthd-fuel-mic |
| Cosmetics | 1. Detection of Pseudomonas aeruginosa | CYS EN ISO 22717:2015 + A1:2022 Mthd-cosm-Pseud |
|  | 2. Detection of Candida albicans | CYS EN ISO 18416:2015 + A1:2022 Mthd-cosm-Cand |
|  | 3. Detection of Staphylococcus aureus | CYS EN ISO 22718:2015 + A1:2022 Mthd-cosm-Staph |
|  | 4. Detection of Escherichia coli | CYS EN ISO 21150:2015 + A1:2022 Mthd-cosm-E.Coli |
|  | 5. Detection and enumeration of aerobic mesophilic bacteria | CYS EN ISO 21149:2017 + A1:2022 Mthd-cosm-TVC |
|  | 6. Enumeration of yeast and mould | CYS EN ISO 16212:2017 + A1:2022 Mthd-cosm-Υ/Μ |
| IMMUNOCHEMICAL TESTS |
| Foodstuffs | *****Detection and quantification of milk proteins in foods Elisa method | Mthd-fd-allerg-milk ISO 15633-1:2019 ISO 15842:2019 |
|  | *****Detection and quantification of gluten / glyadine in foods Elisa method | Mthd-fd-allerg-glut ISO 15633-1:2019 ISO 15842:2019 |
| SAMPLING |
| Waters, waste | *Quality of water-Sampling for microbiological analysis | Mthd-samp ISO 19458: 2006 |
| Surface samples using swabs and contact plates | *Horizontal methods of sampling and analysis for microbiological tests | Mthd-swab ISO 18593:2018 |
| Waters,sewage | **** Sampling for physicochemical parameters | ΟΕ-83 ISO 5667-1:2023, ISO 5667-3:2018, ISO 5667-4:2016, ISO 5667-5:2014, ISO 5667-6:2016 +A11:2020, ISO 5667-9:2013, ISO 5667-10:2021, ISO 5667-11:2013, ISO 5667-13:2011, ISO 5667-14:2016, ISO 5667-15:2009, ISO 5667-20:2008 |
| *EXPRESSION OF OPINION AND INTERPRETATION |
| The laboratory has an accredited system for expressing Opinions and Interpretations based on accredited results Chemical examination of water, food, sewage and environmental samples (soil, air) and Microbiological examination of water, food, sewage and environmental samples and air samples carried out in these premises by authorised personnel. |

AOAC: Association of Analytical Communities

+APHA : Standard Methods for the Examination of Water and Waste water +APHA ,AWWA,WEF 24th Edition 2023

Authorised person to sign test reports and express opinion and interpretation  is Mrs Chara Papastephanou.

General Remarks

This Annex refers only for tests carried out in the premises of the Laboratory, at the following address: Viomichanias 19, Lakatamia Industrial area, Nicosia, Cyprus.

Antonis Ioannou

Director

Date: 27th December 2023