Accreditation Criteria according to ISO 15189

| A/a | Title | M* | Source |
| --- | --- | --- | --- |
| 1 | ISO 15189:2012 ISO 15189:2022 (see note for transition period) Medical Laboratories – Requirements for quality and competence | M | www.cys.org.cy |
| 2 | R 01 CYS-CYSAB’s Regulation for Accreditation | M | www.cys.meci.gov.cy |
| 3 | Ν. 132/1988 The Law on the registration and Operation of Clinical Laboratories | M | www.cyprusassociation.org |
| 4 | 746/2017/EC In Vitro Diagnostics Medical Devices Directive | M | www.eur-lex.europa.eu |
| 5 | Ν. 187/2007 (applicable only for Genetics and IVF laboratories) Ο περί Προτύπων Ποιότητας και Ασφάλειας (Δωρεά, Προμήθεια, Έλεγχος, Επεξεργασία, Συντήρηση, Αποθήκευση και Διανομή) Ανθρώπινων Ιστών, Κυττάρων και Παράγωγων Προϊόντων Νόμος | M | www.cylaw.org |
| 6 | N. 69/2015 (applicable only for IVF laboratories) The Law on Medical Assisted reproduction | M | www.cylaw.org |
| 7 | ΙD 02 Instruction document for the traceability of measurements and calibration of equipment | M | www.cys.meci.gov.cy |
| 8 | ΙD 08 Instruction document for the accreditation of clinical laboratories according to ISO 15189:2012 | M | www.cys.meci.gov.cy |
| 9 | ΕΣΥΔ ΚΟ-ΚΛΙΝΕΡΓ ‘01/02/30-01-2014’ Accreditation of Clinical Laboratories according to ISO 15189:2012 | M | www.esyd.gr |
| 10 | OP 08 Proficiency Testing | M | www.cys.meci.gov.cy |
| 11 | OP 15 (applicable for flexible scope) Flexible Scope | M | www.cys.meci.gov.cy |
| 12 | EA 2/15 M: 2019 EA Requirements for the Accreditation of Flexible Scopes | M | www.european-accreditation.org |
| 13 | EA 4/17 M: 2022 EA position paper on the expression description of scopes of accreditation of medical laboratories | M | www.european-accreditation.org |
| 14 | ILAC P9:06/2014 ILAC Policy for Participation in Proficiency Testing Activities | M | www.ilac.org |
| 15 | ILAC P10:07/2020 ILAC Policy on the Traceability of Measurement Results | M | www.ilac.org |

Note: As well as the above-mentioned criteria, applicant and accredited organisations should be aware of international publications relevant to their area of accreditation, available from the EA and ILAC websites.

| A/a | Title | G, Inf* | Source |
| --- | --- | --- | --- |
| 1 | WHO/DIL/LAB/99.1 :2022 Use of anticoagulants in diagnostic laboratory investigations- WHO | G | www.who.int |
| 2 | ΕΑ 4/20 G: 05/2021 (for POCT) Guidance for the Assessment of Laboratories against EN ISO 15189 and EN ISO 22870 Point-of-Care Testing (POCT) | G | www.european-accreditation.org |
| 3 | ILAC G26: 11/2018 Guidance for the Implementation of a Medical Laboratory Accreditation System | G | www.ilac.org |
| 4 | EA 4/18 G: 11/2021 Guidance on the level and frequency of proficiency testing participation | INF | www.european-accreditation.org |
| 5 | EA-4/21 INF : 2018 Guidelines for the assessment of the appropriateness of small interlaboratory comparisons within the process of laboratory accreditation | INF | www.european-accreditation.org |

*

M = Mandatory

G = Guidance

Inf = Informative

Revision Date: 20/11/2023