Accreditation Criteria according to ISO/IEC 17025

| A/a | Title | M* | Source |
| --- | --- | --- | --- |
| 1 | ISO/IEC 17025:2017 General requirements for the competence of testing and calibration laboratories | M | www.cys.meci.gov.cy |
| 2 | R 01 CYS-CYSAB’s Regulation for Accreditation | M | www.cys.meci.gov.cy |
| 3 | N. 157/1988 The Registration Law for Chemists | M | www.cyprusassociation.org |
| 4 | ΙD 02 Instruction document for the traceability of measurements and calibration of equipment | M | www.cys.meci.gov.cy |
| 5 | ΙD 05 Instruction document for the accreditation of microbiological laboratories | M | www.cys.meci.gov.cy |
| 6 | OP 08 Proficiency Testing | M | www.cys.meci.gov.cy |
| 7 | OP 15 (applicable for flexible scope) Flexible Scope | M | www.cys.meci.gov.cy |
| 8 | EA 2/15 M: 04/2019 EA Requirements for the Accreditation of Flexible Scopes | M | www.european-accreditation.org |
| 9 | EA 2/17 M: 04/2020 EA Document on Accreditation for Notification Purposes | M | www.european-accreditation.org |
| 10 | EA 4/02 M: 04/2022 (applicable only for calibration laboratories) Evaluation of the Uncertainty of Measurement in Calibration | M | www.european-accreditation.org |
| 11 | ILAC P9: 06/2014 ILAC Policy for Participation in Proficiency Testing Activities | M | www.ilac.org |
| 12 | ILAC P10: 07/2020 ILAC Policy on the Traceability of Measurement Results | M | www.ilac.org |
| 13 | ILAC P14: 09/2020 (applicable for calibration laboratories or for testing laboratories that perform internal calibration) ILAC Policy for uncertainty in calibration | M | www.ilac.org |

Note: As well as the above-mentioned criteria, applicant and accredited organisations should be aware of international publications relevant to their area of accreditation, available from the EA and ILAC websites.

| A/a | Title | G, Inf* | Source |
| --- | --- | --- | --- |
| 1 | ESYD Guidelines for the accreditation of laboratories for microbiological testing of food and water samples | G | www.esyd.gr |
| 2 | EURACHEM Guide: Accreditation for microbiological laboratories (2013) | G | www.eurachem.org |
| 3 | EURAMET Calibration Guidelines Calibration guidelines to improve harmonization in the calibration of measuring instruments | G | www.euramet.org |
| 4 | EA 4/14 INF:02/2003 Selection and use of reference materials | INF | www.european-accreditation.org |
| 5 | EA-4/21 INF:2018 Guidelines for the assessment of the appropriateness of small interlaboratory comparisons within the process of laboratory accreditation | INF | www.european-accreditation.org |
| 6 | EA 4/18 INF:11/2021 Guidance on the level and frequency of proficiency testing participation | INF | www.european-accreditation.org |
| 7 | EA 4/23 INF:10/2019 The Assessment and Accreditation of Opinions and Interpretations Using ISO/IEC 17025:2017 | INF | www.european-accreditation.org |

*

M = Mandatory

G = Guidance

Inf = Informative

Revision Date: 20/11/2023